## Sheet1
Initial Cond | L = | 8 | ft | [Area Length]
| W = | 8 | ft | [Area Width]
| ρ = | 0.25 | gpm/sf | [density of coverage]
| # = | 3 | nozzles
Nozzle 1 | Nozzle 1 conditions
| C1 = | 120 |  | [C factor]
| D1 = | 1.38 | in | [Internal Diameter]
| L1 = | 8 | ft | [length between nozzles]
| k = | 4.09 |  | [k factor]
Initial Flow at Nozzle 1
| Q1 = | 16 | gpm | #NAME? | [Flow at Nozzle 1 calcd by density]
On initial Cal = set Q1 to be calc. Subsequent may manually increase
| Q1' = | 16.1 | gpm |  | [Flow at Nozzle 1 manually increased as required]
Initial Pressure, which is velocity pressure
| P1 = | #NAME? | psi | #NAME?
Pressure loss in pipe from previous nozzle
| Pf = | #NAME? | psi | #NAME?
Final Results at nozzle 1
| PT1 = | #NAME? | psi | [Total pressure at Nozzle 1]
| QT1 = | 16.1 | gpm | [Total flow at Nozzle 1]
| Q1 = | 16.1 | gpm | [The nozzle flow at Nozzle 1]
Nozzle 2 | Nozzle 2 conditions
| C2 = | 120 |  | [C factor]
| D2 = | 1.38 | in | [Internal Diameter]
| L2 = | 8 | ft | [length between nozzles]
| k = | 4.09 |  | [k factor]
Total Pressure at Nozzle 2
| PT2 = | #NAME? | psi | #NAME?
Assume Flow at Nozzle 2
| Q2? = | 16.029 | gpm | [Flow at Nozzle 2]
Difference between guess & calc
| Diff= | #NAME?
Total flow at 2
| QT2 = | 32.129 | gpm | #NAME?
Velocity pressure at 2
| Pv2 = | #NAME? | psi | #NAME?
Normal pressure at 2
| PN2 = | #NAME? | psi | #NAME?
Verify assume flow
| Q2 = | #NAME? | gpm | #NAME?
Pressure loss in pipe from previous nozzle
| Pf2 = | #NAME? | psi | #NAME?
Final Results at nozzle 2
| PT2 = | #NAME? | psi | [Total pressure at Nozzle 2]
| QT2 = | 32.129 | gpm | [Total flow at Nozzle 2]
| Q2 = | #NAME? | gpm | [The nozzle flow at Nozzle 2]
Nozzle 3 | Nozzle 3 conditions
| C3 = | 120 |  | [C factor]
| D3 = | 1.38 | in | [Internal Diameter]
| L3 = | 8 | ft | [length between nozzles]
| k = | 4.09 |  | [k factor]
Total Pressure at Nozzle 3
| PT3 = | #NAME? | psi | #NAME?
Assume Flow at Nozzle 2
| Q3? = | 16.1619 | gpm | [Flow at Nozzle 3]
Difference between guess & calc
| Diff= | #NAME?
Total flow at 3
| QT3 = | 48.2909 | gpm | #NAME?
Velocity pressure at 3
| Pv3 = | #NAME? | psi | #NAME?
Normal pressure at 3
| PN3 = | #NAME? | psi | #NAME?
Verify assume flow
| Q3 = | #NAME? | gpm | #NAME?
Pressure loss in pipe from previous nozzle
| Pf3 = | #NAME? | psi | #NAME?
Final Results at nozzle 3
| PT3 = | #NAME? | psi | [Total pressure at Nozzle 3]
| QT3 = | 48.2909 | gpm | [Total flow at Nozzle 3]
| Q3 = | #NAME? | gpm | [The nozzle flow at Nozzle 3]
Goal Seek (put curser on Diff)
Goal Seek (put curser on Diff)